{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":692,"n_cols":6,"rows_kept":692,"cut":false,"hidden":false,"merged":[[0,0,0,5],[3,0,3,5],[216,0,216,5],[289,0,289,5],[357,0,357,5],[499,0,499,5],[628,0,628,5],[635,0,635,5],[651,0,651,5],[673,0,673,5],[688,0,688,5],[689,0,689,5],[690,0,690,5],[691,0,691,5],[637,1,641,1],[642,1,643,1],[644,1,646,1],[647,1,650,1],[630,5,634,5]],"flags":["formulas_cached_only"]}
["附件一  材料清单（第二次）"]
["供应商名称："]
["交货方式：【√】送货上门  【 】运输  【 】上门提货"]
["一、玛钢配件"]
["序号","品名","技术规格","报价（元）","品牌","备注"]
[1,"法兰（10kg）","DN40"]
[2,"法兰（10kg）","DN50"]
[3,"法兰（10kg）","DN65"]
[4,"法兰（10kg）","DN80"]
[5,"法兰（10kg）","DN100"]
[6,"法兰（10kg）","DN125"]
[7,"法兰（10kg）","DN150"]
[8,"法兰（10kg）","DN200"]
[9,"法兰（10kg）","DN250"]
[10,"法兰（10kg）","DN300"]
[11,"法兰（10kg）","DN350"]
[12,"法兰（10kg）","DN400"]
[13,"法兰（10kg）","DN500"]
[14,"法兰（10kg）","DN600"]
[15,"法兰（10kg）","DN700"]
[16,"法兰（10kg）","DN800"]
[17,"丝口法兰（16kg）","DN50"]
[18,"丝口法兰（16kg）","DN65"]
[19,"丝口法兰（16kg）","DN80"]
[20,"丝口法兰（16kg）","DN100"]
[21,"丝口法兰（16kg）","DN150"]
[22,"丝口法兰（16kg）","DN200"]
[23,"丝口法兰（16kg）","DN250"]
[24,"丝口法兰（16kg）","DN300"]
[25,"法兰垫片（带孔）","DN40"]
[26,"法兰垫片（带孔）","DN50"]
[27,"法兰垫片（带孔）","DN65"]
[28,"法兰垫片（带孔）","DN80"]
[29,"法兰垫片（带孔）","DN100"]
[30,"法兰垫片（带孔）","DN125"]
[31,"法兰垫片（带孔）","DN150"]
[32,"法兰垫片（带孔）","DN200"]
[33,"法兰垫片（带孔）","DN250"]
[34,"法兰垫片（带孔）","DN300"]
[35,"法兰垫片（带孔）","DN350"]
[36,"法兰垫片（带孔）","DN400"]
[37,"法兰垫片（带孔）","DN500"]
[38,"法兰垫片（带孔）","DN600"]
[39,"盲板（10kg）","DN40"]
[40,"盲板（10kg）","DN50"]
[41,"盲板（10kg）","DN65"]
[42,"盲板（10kg）","DN80"]
[43,"盲板（10kg）","DN100"]
[44,"盲板（10kg）","DN125"]
[45,"盲板（10kg）","DN150"]
[46,"盲板（10kg）","DN200"]
[47,"盲板（10kg）","DN250"]
[48,"盲板（10kg）","DN300"]
[49,"盲板（10kg）","DN350"]
[50,"盲板（10kg）","DN400"]
[51,"盲板（10kg）","DN500"]
[52,"盲板（10kg）","DN600"]
[53,"盲板（10kg）","DN700"]
[54,"盲板（10kg）","DN800"]
[55,"冲压弯（6mm)<DN200<(8mm)","DN40"]
[56,"冲压弯（6mm)<DN200<(8mm)","DN50"]
[57,"冲压弯（6mm)<DN200<(8mm)","DN65"]
[58,"冲压弯（6mm)<DN200<(8mm)","DN80"]
[59,"冲压弯（6mm)<DN200<(8mm)","DN100"]
[60,"冲压弯（6mm)<DN200<(8mm)","DN125"]
[61,"冲压弯（6mm)<DN200<(8mm)","DN150"]
[62,"冲压弯（6mm)<DN200<(8mm)","DN200"]
[63,"冲压弯（6mm)<DN200<(8mm)","DN250"]
[64,"冲压弯（6mm)<DN200<(8mm)","DN300"]
[65,"冲压弯（6mm)<DN200<(8mm)","DN350"]
[66,"冲压弯（6mm)<DN200<(8mm)","DN400"]
[67,"冲压弯（6mm)<DN200<(8mm)","DN500"]
[68,"冲压弯（6mm)<DN200<(8mm)","DN600"]
[69,"防腐冲压弯","DN40"]
[70,"防腐冲压弯","DN50"]
[71,"防腐冲压弯","DN65"]
[72,"防腐冲压弯","DN80"]
[73,"防腐冲压弯","DN100"]
[74,"防腐冲压弯","DN125"]
[75,"防腐冲压弯","DN150"]
[76,"防腐冲压弯","DN200"]
[77,"防腐冲压弯","DN250"]
[78,"防腐冲压弯","DN300"]
[79,"防腐冲压弯","DN350"]
[80,"防腐冲压弯","DN400"]
[81,"防腐冲压弯","DN500"]
[82,"防腐冲压弯","DN600"]
[83,"水表接头","DN15"]
[84,"水表接头","DN20"]
[85,"水表接头","DN25"]
[86,"压力表","y60"]
[87,"压力表","y100"]
[88,"压力表","y150"]
[89,"罗栓 带帽","16×60"]
[90,"罗栓 带帽","16×70"]
[91,"罗栓 带帽","16×80"]
[92,"罗栓 带帽","16×90"]
[93,"罗栓 带帽","16×100"]
[94,"罗栓 带帽","16×110"]
[95,"罗栓 带帽","16×120"]
[96,"罗栓 带帽","16×160"]
[97,"罗栓 带帽","18×60"]
[98,"罗栓 带帽","18×70"]
[99,"罗栓 带帽","18×80"]
[100,"罗栓 带帽","18×90"]
[101,"罗栓 带帽","18×100"]
[102,"罗栓 带帽","18×110"]
[103,"罗栓 带帽","18×120"]
[104,"罗栓 带帽","18×130"]
[105,"罗栓 带帽","20×70"]
[106,"罗栓 带帽","20×80"]
[107,"罗栓 带帽","20×90"]
[108,"罗栓 带帽","20×100"]
[109,"罗栓 带帽","20×110"]
[110,"罗栓 带帽","20×120"]
[111,"罗栓 带帽","20×130"]
[112,"罗栓 带帽","20×140"]
[113,"罗栓 带帽","20×150"]
[114,"罗栓 带帽","20×160"]
[115,"罗栓 带帽","20×200"]
[116,"罗栓 带帽","22×70"]
[117,"罗栓 带帽","22×80"]
[118,"罗栓 带帽","22×90"]
[119,"罗栓 带帽","22×100"]
[120,"罗栓 带帽","22×110"]
[121,"罗栓 带帽","22×120"]
[122,"罗栓 带帽","22×130"]
[123,"罗栓 带帽","22×140"]
[124,"罗栓 带帽","22×150"]
[125,"罗栓 带帽","24×90"]
[126,"罗栓 带帽","24×100"]
[127,"罗栓 带帽","24×110"]
[128,"罗栓 带帽","24×120"]
[129,"罗栓 带帽","27×100"]
[130,"罗栓 带帽","27×120"]
[131,"螺帽","M18"]
[132,"弯头","DN15"]
[133,"弯头","DN20"]
[134,"弯头","DN25"]
[135,"弯头","DN32"]
[136,"弯头","DN40"]
[137,"弯头","DN50"]
[138,"弯头","DN65"]
[139,"弯头","DN80"]
[140,"弯头","DN100"]
[141,"直接","DN15"]
[142,"直接","DN20"]
[143,"直接","DN25"]
[144,"直接","DN32"]
[145,"直接","DN40"]
[146,"直接","DN50"]
[147,"直接","DN65"]
[148,"直接","DN80"]
[149,"直接","DN100"]
[150,"三通","DN15"]
[151,"三通","DN20"]
[152,"三通","DN25"]
[153,"三通","DN32"]
[154,"三通","DN40"]
[155,"三通","DN50"]
[156,"三通","DN65"]
[157,"三通","DN80"]
[158,"三通","DN100"]
[159,"外丝","DN15"]
[160,"外丝","DN20"]
[161,"外丝","DN25"]
[162,"外丝","DN32"]
[163,"外丝","DN40"]
[164,"外丝","DN50"]
[165,"外丝","DN65"]
[166,"外丝","DN80"]
[167,"外丝","DN100"]
[168,"活接","DN15"]
[169,"活接","DN20"]
[170,"活接","DN25"]
[171,"活接","DN32"]
[172,"活接","DN40"]
[173,"活接","DN50"]
[174,"活接","DN65"]
[175,"活接","DN80"]
[176,"活接","DN100"]
[177,"堵头","DN15"]
[178,"堵头","DN20"]
[179,"堵头","DN25"]
[180,"堵头","DN32"]
[181,"堵头","DN40"]
[182,"堵头","DN50"]
[183,"堵头","DN65"]
[184,"堵头","DN80"]
[185,"堵头","DN100"]
[186,"补心","DN20"]
[187,"补心","DN25"]
[188,"补心","DN32"]
[189,"补心","DN40"]
[190,"补心","DN50"]
[191,"补心","DN65"]
[192,"补心","DN80"]
[193,"补心","DN100"]
[194,"管帽","DN15"]
[195,"管帽","DN20"]
[196,"管帽","DN25"]
[197,"管帽","DN32"]
[198,"管帽","DN50"]
[199,"软接头","DN100"]
[200,"软接头","DN125"]
[201,"软接头","DN150"]
[202,"软接头","DN200"]
[203,"软接头","DN250"]
[204,"软接头","DN300"]
[205,"软接头","DN400"]
[206,"软接头","DN450"]
[207,"短管","10公分"]
[208,"短管","20公分"]
[209,"短管","30公分"]
[210,"短管","40公分"]
[211,"短管","50公分"]
["二、零星五金"]
["序号","物品名称","规格型号","报价（元）","品牌","备注"]
[1,"电焊条2.5"]
[2,"电焊条3.2"]
[3,"电笔"]
[4,"数显万用表","VC8905"]
[5,"插板","不带线、250V、10A、2500W、长度2米、3孔组合"]
[6,"地拖","不带线"]
[7,"羊角铁锤"]
[8,"角磨机切片",100]
[9,"自攻螺丝","3公分"]
[10,"自攻螺丝","4.5公分"]
[11,"拉钉钳"]
[12,"拉钉"]
[13,"电锤",45377]
[14,"电镐"]
[15,"电锤钻头6-18"]
[16,"锂电池手电钻","24V"]
[17,"手电钻头6-16"]
[18,"双用电焊机","ZXT-315"]
[19,"35平焊线"]
[20,"500A焊把"]
[21,"双用电焊机","ZXT-400"]
[22,"三相切割机","400型"]
[23,"锂电钻电钻","16V"]
[24,"300液压钳"]
[25,"活动扳手","12寸"]
[26,"活动扳手","14寸"]
[27,"活动扳手","18寸"]
[28,"老虎钳","8寸"]
[29,"尖嘴钳","8寸"]
[30,"钢锯条"]
[31,"管子钳","18寸"]
[32,"管子钳","36寸"]
[33,"点动开关","3A-250V"]
[34,"电接点压力表","0-1.6"]
[35,"报警开关"]
[36,"排气阀",50]
[37,"生料带","100个/件"]
[38,"麻丝"]
[39,"电子剪切钳","4''"]
[40,"电子长嘴钳","5''"]
[41,"水泵钳","10”"]
[42,"电缆剥线器","4-28mm"]
[43,"鲤鱼钳","6''"]
[44,"穴用曲口卡簧钳","内卡钳    5''"]
[45,"轴用直口卡簧钳","外卡钳    7''"]
[46,"电缆切割钳","6\""]
[47,"带刃口剥线钳","6\""]
[48,"曲口快速释放大力钳","7\""]
[49,"强力通用剪"]
[50,"木柄圆头锤"]
[51,"纤维柄八角锤","4磅"]
[52,"透明管黄油枪","1 OZ/40次按压       400CC"]
[53,"重型实用刀","带有快速换刀功能和安全割带功能内部可存储 5片梯形刀片，取用方便"]
[54,"1级精度卷尺","5米"]
[55,"钢直尺","500mm"]
[56,"机械式游标卡尺","0-150mm 正负0.02mm"]
[57,"角尺","400mm"]
[58,"高度游标尺","0-500mm   正负0.04mm"]
[59,"重型管子钳"," 8\" 全长200mm"]
[60,"皮带扳手"," 9\""]
[61,"重型手扳葫芦","起重量：1.5吨   起升高度：3米"]
[62,"立式液压千斤顶","2吨"]
[63,"重型方钢台虎钳"," 8\"   开口203mm"]
[64,"3爪拉马","12”长度405mm 直径300"]
[65,"无铅卷轴焊锡丝"]
[66,"弯头镊子","125mm"]
[67,"特尖头长镊子135MM","135mm"]
[68,"数显测电笔","130mm"]
[69,"防水工作灯","400LM"]
[70,"吹尘枪","250mm  气管内径1/4\""]
[71,"电工胶布"]
[" 三、零星电气"]
["序号","名称","规格","报价（元）","品牌","备注"]
[1,"断路器","NXB-63 2P C20"]
[2,"断路器","NXB-63 2P C40"]
[3,"断路器","NXB-63 3P C10"]
[4,"断路器","NXB-63 3P C20"]
[5,"断路器","NXB-63 2P C20"]
[6,"断路器","NXB-63 3P C25"]
[7,"塑壳断路器","DZ20Y-630/3300 630A"]
[8,"塑壳断路器","NM1-400S/3300 400A"]
[9,"塑壳断路器","NM1-630S/3300 630A"]
[10,"接触器","CJX2-1210 220V"]
[11,"接触器","CJ19-9521 220V"]
[12,"接触器","CJX2-1801 220V"]
[13,"接触器","CJ20-632 20V"]
[14,"继电器","JZ7-62 220V"]
[15,"继电器","JSS48A-2Z AC220V"]
[16,"熔断器","RT29-16(RO14) 6A"]
[17,"继电器","XJ3-G AC380V"]
[18,"浮球液位控制器","M15-2"]
[19,"压力表","YXC-100 0-10MPA"]
[20,"继电器","JSS48A-2Z AC220V"]
[21,"零部件","CZF08A"]
[22,"电容器","BZMJ 0.4-40-3"]
[23,"压力表","YB-150A 0-0.6MPA M20*1.5"]
[24,"压力变送器","CD8088A DC24V"]
[25,"真空压力表","YZ-100 0.1-0.5MPa"]
[26,"电容器","NWK1-G 10(380V)"]
[27,"磁助电接点压力表","YXC-100 0-0.6MPA"]
[28,"蝶式绝缘子","ED-4"]
[29,"LED灯泡","NEP-QP2301561T"]
[30,"螺口灯头","LKDT"]
[31,"互感器","BH-0.66 40Ⅰ 500/5A 0.2S级"]
[32,"互感器","BH-0.66 60Ⅰ 800/5A 0.2S级"]
[33,"电度表","DDS6661.5(6)A互感式"]
[34,"钳形表","N266"]
[35,"按钮盒","BX3"]
[36,"PVC线管","PVC-20 线管"]
[37,"PVC线管","PVC-16 线管"]
[38,"PVC直接","PVC-16 直接"]
[39,"PVC直接","PVC-20直接"]
[40,"尼龙扎带","ZD16\"5x400"]
[41,"开口鼻","OT-80A"]
[42,"开口鼻","OT-60A"]
[43,"交流接触器","CJX2-1210、1201"]
[44,"交流接触器","CJX2-1810、1801"]
[45,"交流接触器","CJX2-2510、2501"]
[46,"交流接触器","CJX2-3210、3201"]
[47,"交流接触器","CJX2-4011"]
[48,"交流接触器","CJX2-5011"]
[49,"交流接触器","CJX2-6511"]
[50,"交流接触器","CJX2-8011"]
[51,"交流接触器","CJX2-9511"]
[52,"交流接触器","CJX2-0910"]
[53,"交流接触器","CJ20-160"]
[54,"交流接触器","CJ20-250"]
[55,"铜芯护套线","BVVB 2*2.5"]
[56,"铜芯护套线","BVVB 2*1.5"]
[57,"橡套软电缆","YC 3*2.5"]
[58,"橡套软电缆","YC 3*6"]
[59,"橡套软电缆","YC 3*10"]
[60,"橡套软电缆","YC 3*4"]
[61,"护套软线","RVV 2*2.5"]
[62,"护套软线","RVV 2*1.6"]
[63,"铜芯硬线","BV 2.5"]
[64,"铜芯硬线","BV 4"]
[65,"铜芯硬线","BV 1.5"]
[66,"铜芯电缆线","3*1.5+1*1"]
["四、给水PVC管材管件（1.0mpa)"]
["序号","名称","规格","报价（元）","品牌","备注"]
[1,"PVC管","DN20"]
[2,"PVC管","DN25"]
[3,"PVC管","DN32"]
[4,"PVC管","DN40"]
[5,"PVC管","DN50"]
[6,"PVC管","DN63"]
[7,"PVC管","DN75"]
[8,"PVC管","DN90"]
[9,"PVC管","DN110"]
[10,"PVC管","DN160"]
[11,"PVC管","DN200"]
[12,"PVC管","DN315"]
[13,"小瓶给水胶水","105g"]
[14,"中瓶给水胶水","410g"]
[15,"大瓶给水胶水","770g"]
[16,"PVC三通","DN20"]
[17,"PVC三通","DN25"]
[18,"PVC三通","DN32"]
[19,"PVC三通","DN40"]
[20,"PVC三通","DN50"]
[21,"PVC三通","DN63"]
[22,"PVC三通","DN75"]
[23,"PVC三通","DN90"]
[24,"PVC三通","DN110"]
[25,"PVC三通","DN160"]
[26,"PVC三通","DN200"]
[27,"PVC直接","DN20"]
[28,"PVC直接","DN25"]
[29,"PVC直接","DN32"]
[30,"PVC直接","DN40"]
[31,"PVC直接","DN50"]
[32,"PVC直接","DN63"]
[33,"PVC直接","DN75"]
[34,"PVC直接","DN90"]
[35,"PVC直接","DN110"]
[36,"PVC直接","DN160"]
[37,"PVC直接","DN200"]
[38,"PVC弯头","DN20"]
[39,"PVC弯头","DN25"]
[40,"PVC弯头","DN32"]
[41,"PVC弯头","DN40"]
[42,"PVC弯头","DN50"]
[43,"PVC弯头","DN63"]
[44,"PVC弯头","DN75"]
[45,"PVC弯头","DN90"]
[46,"PVC弯头","DN110"]
[47,"PVC弯头","DN160"]
[48,"PVC弯头","DN200"]
[49,"PVC弯头","32º"]
[50,"PVC弯头","50º"]
[51,"PVC弯头","75º"]
[52,"PVC弯头","90º"]
[53,"PVC堵头（管帽）","DN20"]
[54,"PVC堵头（管帽）","DN25"]
[55,"PVC堵头（管帽）","DN32"]
[56,"PVC堵头（管帽）","DN40"]
[57,"PVC堵头（管帽）","DN50"]
[58,"PVC堵头（管帽）","DN63"]
[59,"PVC堵头（管帽）","DN75"]
[60,"PVC堵头（管帽）","DN90"]
[61,"PVC堵头（管帽）","DN110"]
[62,"PVC堵头（管帽）","DN160"]
[63,"PVC堵头（管帽）","DN200"]
[64,"PVC异径三通","DN25*20"]
[65,"PVC异径三通","DN32*20"]
[66,"PVC异径三通","DN32*25"]
[67,"PVC异径三通","DN40*25"]
[68,"PVC异径三通","DN50*25"]
[69,"PVC异径三通","DN50*32"]
[70,"PVC异径三通","DN63*25"]
[71,"PVC异径三通","DN63*32"]
[72,"PVC异径三通","DN63*50"]
[73,"PVC异径三通","DN75*32"]
[74,"PVC异径三通","DN75*50"]
[75,"PVC异径三通","DN75*63"]
[76,"PVC异径三通","DN90*50"]
[77,"PVC异径三通","DN90*63"]
[78,"PVC异径三通","DN110*50"]
[79,"PVC异径三通","DN110*63"]
[80,"PVC异径三通","DN110*90"]
[81,"PVC异径三通","DN160*110"]
[82,"PVC异径大小头","DN25*20"]
[83,"PVC异径大小头","DN32*20"]
[84,"PVC异径大小头","DN40*25"]
[85,"PVC异径大小头","DN40*32"]
[86,"PVC异径大小头","DN50*20"]
[87,"PVC异径大小头","DN50*25"]
[88,"PVC异径大小头","DN50*32"]
[89,"PVC异径大小头","DN50*40"]
[90,"PVC异径大小头","DN63*25"]
[91,"PVC异径大小头","DN63*32"]
[92,"PVC异径大小头","DN63*50"]
[93,"PVC异径大小头","DN75*50"]
[94,"PVC异径大小头","DN75*63"]
[95,"PVC异径大小头","DN90*50"]
[96,"PVC异径大小头","DN90*63"]
[97,"PVC异径大小头","DN90*75"]
[98,"PVC异径大小头","DN110*50"]
[99,"PVC异径大小头","DN110*63"]
[100,"PVC异径大小头","DN110*90"]
[101,"PVC异径大小头","DN160*90"]
[102,"PVC异径大小头","DN160*110"]
[103,"PVC异径大小头","DN200*110"]
[104,"PVC异径大小头","DN200*160"]
[105,"PVC法兰","DN20"]
[106,"PVC法兰","DN25"]
[107,"PVC法兰","DN32"]
[108,"PVC法兰","DN40"]
[109,"PVC法兰","DN50"]
[110,"PVC法兰","DN63"]
[111,"PVC法兰","DN75"]
[112,"PVC法兰","DN90"]
[113,"PVC法兰","DN110"]
[114,"PVC法兰","DN160"]
[115,"PVC法兰","DN200"]
[116,"PVC法兰","DN300"]
[117,"PVC垫片","DN32"]
[118,"PVC垫片","DN50"]
[119,"PVC垫片","DN63"]
[120,"PVC垫片","DN75"]
[121,"PVC垫片","DN90"]
[122,"PVC垫片","DN110"]
[123,"PVC垫片","DN160"]
[124,"PVC垫片","DN200"]
[125,"PVC内丝","DN20"]
[126,"PVC内丝","DN40"]
[127,"PVC内丝","DN50"]
[128,"PVC内丝","DN63"]
[129,"PVC内丝","DN75"]
[130,"PVC内丝","DN90"]
[131,"PVC内丝","DN110"]
[132,"PVC外丝","DN20"]
[133,"PVC外丝","DN25"]
[134,"PVC外丝","DN32"]
[135,"PVC外丝","DN40"]
[136,"PVC外丝","DN50"]
[137,"PVC外丝","DN63"]
[138,"PVC外丝","DN75"]
[139,"PVC外丝","DN90"]
[140,"PVC外丝","DN110"]
["五、给水PPR管材管件（1.2mpa)"]
["序号","名称","规格","报价（元）","品牌","备注"]
[1,"PPR水管","DN20"]
[2,"PPR水管","DN25"]
[3,"PPR水管","DN32"]
[4,"PPR水管","DN40"]
[5,"PPR水管","DN50"]
[6,"PPR水管","DN63"]
[7,"PPR水管","DN75"]
[8,"PPR水管","DN90"]
[9,"PPR大小头","DN25*20"]
[10,"PPR大小头","DN32*25"]
[11,"PPR大小头","DN40*25"]
[12,"PPR大小头","DN40*32"]
[13,"PPR大小头","DN50*20"]
[14,"PPR大小头","DN50*32"]
[15,"PPR大小头","DN50*40"]
[16,"PPR大小头","DN63*25"]
[17,"PPR大小头","DN63*32"]
[18,"PPR大小头","DN63*50"]
[19,"PPR大小头","DN90*75"]
[20,"PPR大小头","DN90*63"]
[21,"PPR等径弯头","DN20"]
[22,"PPR等径弯头","DN25"]
[23,"PPR等径弯头","DN32"]
[24,"PPR等径弯头","DN40"]
[25,"PPR等径弯头","DN50"]
[26,"PPR等径弯头","DN63"]
[27,"PPR等径弯头","DN75"]
[28,"PPR等径弯头","DN90"]
[29,"PPR等径弯头","DN110"]
[30,"PPR45°弯头","DN20"]
[31,"PPR45°弯头","DN25"]
[32,"PPR45°弯头","DN32"]
[33,"PPR45°弯头","DN40"]
[34,"PPR45°弯头","DN50"]
[35,"PPR45°弯头","DN63"]
[36,"PPR45°弯头","DN75"]
[37,"PPR45°弯头","DN90"]
[38,"PPR45°弯头","DN110"]
[39,"PPR内牙弯头","DE20x1/2"]
[40,"PPR内牙弯头","DE25x1/2"]
[41,"PPR内牙弯头","DE25x3/4"]
[42,"PPR内牙弯头","DE32x1/2"]
[43,"PPR内牙弯头","DE32x3/4"]
[44,"PPR内牙弯头","DE32x1"]
[45,"PPR内牙弯头","DE40x1 1/4"]
[46,"PPR内牙弯头","DE50x1 1/2"]
[47,"PPR内牙弯头","DE63x2"]
[48,"PPR外牙弯头","DE20x1/2"]
[49,"PPR外牙弯头","DE25x1/2"]
[50,"PPR外牙弯头","DE25x3/4"]
[51,"PPR外牙弯头","DE32x1/2"]
[52,"PPR外牙弯头","DE32x3/4"]
[53,"PPR外牙弯头","DE32x1"]
[54,"PPR外牙弯头","DE40x1 1/4"]
[55,"PPR外牙弯头","DE50x1 1/2"]
[56,"PPR等径三通","DE63x2"]
[57,"PPR等径三通","DN25"]
[58,"PPR等径三通","DN32"]
[59,"PPR等径三通","DN40"]
[60,"PPR等径三通","DN50"]
[61,"PPR等径三通","DN63"]
[62,"PPR等径三通","DN75"]
[63,"PPR等径三通","DN90"]
[64,"PPR等径三通","DN110"]
[65,"PPR内牙三通","DE20x1/2"]
[66,"PPR内牙三通","DE25x1/2"]
[67,"PPR内牙三通","DE25x3/4"]
[68,"PPR内牙三通","DE32x1/2"]
[69,"PPR内牙三通","DE32x3/4"]
[70,"PPR内牙三通","DE32x1"]
[71,"PPR内牙三通","DE40x1 1/4"]
[72,"PPR内牙三通","DE50x1 1/2"]
[73,"PPR内牙三通","DE63x2"]
[74,"PPR外牙三通","DE20x1/2"]
[75,"PPR外牙三通","DE25x1/2"]
[76,"PPR外牙三通","DE25x3/4"]
[77,"PPR外牙三通","DE32x1/2"]
[78,"PPR外牙三通","DE32x3/4"]
[79,"PPR外牙三通","DE32x1"]
[80,"PPR外牙三通","DE40x1 1/4"]
[81,"PPR外牙三通","DE50x1 1/2"]
[82,"PPR外牙三通","DE63x2"]
[83,"法兰","DE75"]
[84,"法兰","DE90"]
[85,"法兰","DE110"]
[86,"PPR等径直接","DN20"]
[87,"PPR等径直接","DN25"]
[88,"PPR等径直接","DN32"]
[89,"PPR等径直接","DN40"]
[90,"PPR等径直接","DN50"]
[91,"PPR等径直接","DN63"]
[92,"PPR等径直接","DN75"]
[93,"PPR等径直接","DN90"]
[94,"PPR等径直接","DN110"]
[95,"PPR内牙直接","DE20x1/2"]
[96,"PPR内牙直接","DE25x1/2"]
[97,"PPR内牙直接","DE25x3/4"]
[98,"PPR内牙直接","DE32x1/2"]
[99,"PPR内牙直接","DE32x3/4"]
[100,"PPR内牙直接","DE32x1"]
[101,"PPR内牙直接","DE40x1 1/4"]
[102,"PPR内牙直接","DE50x1 1/2"]
[103,"PPR内牙直接","DE63x2"]
[104,"PPR外牙直接","DE20x1/2"]
[105,"PPR外牙直接","DE25x1/2"]
[106,"PPR外牙直接","DE25x3/4"]
[107,"PPR外牙直接","DE32x1/2"]
[108,"PPR外牙直接","DE32x3/4"]
[109,"PPR外牙直接","DE32x1"]
[110,"PPR外牙直接","DE40x1 1/4"]
[111,"PPR外牙直接","DE50x1 1/2"]
[112,"PPR外牙直接","DE63x2"]
[113,"PPR外牙活接","DE20x1/2"]
[114,"PPR活接","DE25x3/4"]
[115,"PPR活接","DE32x1"]
[116,"PPR活接","DE40x1 1/4"]
[117,"PPR活接","DE50x1 1/2"]
[118,"PPR活接","DE63x2"]
[119,"PPR管帽","DN20"]
[120,"PPR管帽","DN25"]
[121,"PPR管帽","DN32"]
[122,"PPR管帽","DN40"]
[123,"PPR管帽","DN50"]
[124,"PPR管帽","DN63"]
[125,"PPR管帽","DN75"]
[126,"PPR管帽","DN90"]
[127,"PPR管帽","DN110"]
["六、不锈钢分水器"]
["序号","名称","规格","报价（元）","品牌","备注"]
[1,"304不锈钢分水器","DN50*2路"]
[2,"304不锈钢分水器","DN50*3路"]
[3,"304不锈钢分水器","DN50*4路"]
[4,"304不锈钢分水器","DN50*5路"]
[5,"304不锈钢分水器","DN50*6路"]
["七、井盖"]
["序号","名称","规格","报价（元）","品牌","备注"]
[1,"方井盖(轻型)","400*400*35",null,null,"承重2T"]
[2,null,"600*600*35",null,null,"承重1T"]
[3,null,"700*700*35",null,null,"承重1T"]
[4,null,"800*800*40",null,null,"承重1T"]
[5,null,"1000*1000*40",null,null,"承重1T"]
[6,"圆井盖(轻型)","600*700*35",null,null,"承重1T"]
[7,null,"800*900*30",null,null,"承重2T"]
[8,"圆井盖(重型40t)","600*700*60",null,null,"承重40T"]
[9,null,"800*900*80",null,null,"承重40T"]
[10,null,"1000*1150",null,null,"承重30T"]
[11,"方井盖(重型40t)","600*600*53",null,null,"承重40T"]
[12,null,"700*700*50",null,null,"承重40T"]
[13,null,"800*800*50",null,null,"承重40T"]
[14,null,"1000*1000*65双页",null,null,"承重40T"]
["八、电熔配件（1.6MPa）"]
["序号","名称","规格","报价（元）","品牌","备注"]
[1,"电熔接头(弯头)","DN90"]
[2,"电熔接头(弯头)","DN110"]
[3,"电熔接头(弯头)","DN160"]
[4,"电熔接头(弯头)","DN200"]
[5,"电熔接头(弯头)","DN315"]
[6,"电熔接头(三通)","DN90"]
[7,"电熔接头(三通)","DN110"]
[8,"电熔接头(三通)","DN160"]
[9,"电熔接头(三通)","DN200"]
[10,"电熔接头(三通)","DN315"]
[11,"电熔接头(法兰)","DN90"]
[12,"电熔接头(法兰)","DN110"]
[13,"电熔接头(法兰)","DN160"]
[14,"电熔接头(法兰)","DN200"]
[15,"电熔接头(法兰)","DN315"]
[16,"电熔接头(直接)","DN90"]
[17,"电熔接头(直接)","DN110"]
[18,"电熔接头(直接)","DN160"]
[19,"电熔接头(直接)","DN200"]
[20,"电熔接头(直接)","DN315"]
["九、防脱承盘 "]
["序号","名称","规格","报价（元）","品牌","备注"]
[1,"防脱承盘","DN50"]
[2,"防脱承盘","DN65"]
[3,"防脱承盘","DN80"]
[4,"防脱承盘","DN100"]
[5,"防脱承盘","DN150"]
[6,"防脱承盘","DN200"]
[7,"防脱承盘","DN250"]
[8,"防脱承盘","DN300"]
[9,"防脱承盘","DN350"]
[10,"防脱承盘","DN400"]
[11,"防脱承盘","DN500"]
[12,"防脱承盘","DN600"]
[13,"防脱承盘","DN700（不带防脱）"]
["全部合计金额：大写：                    小写：  "]
["报价单位（公章）：                        联系方式："]
["日期："]
["备注：1.本项目按实际发生的产品、规格及数量，据实结算。\n2.结算时，如有本采购清单中未列明的产品或规格型号，以合同期间供货当月《江西省造价信息》发布的同期信息价为结算依据。\n3.结算时如即有本采购清单中未列明的，又在《江西省造价信息》中无市场信息价的产品或规格型号，则按中标人历史成交价，或采购人市场三家以上询价作为结算依据。\n4.具体事项，或有未列明事项，具体在合同中约定。"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}